## Slide 1: Engaging the Cap Sooner Rethinking Your Current Algorithm
Saihari Sadanandan, MD,FACC, FSCAI
Director, Interventional Cardiology and Cardiac Catheterization Labs
St. Joseph’s Hospital
Bay Care Health System
Tampa, Florida

## Slide 2
Disclosures
  Invited Speaker – Maquet / Getinge

## Slide 3: Not all CTO’s are the same….

## Slide 4: Proximal and Distal caps organize and are frequently fibrocalcific and are difficult to penetrate.
Mustapha JA et al

## Slide 5: But morphology changes along the course of the CTO….

## Slide 6: Both proximal and distal caps organize in different morphologies

## Slide 7: CTOP classification – Proposed Strategies for access and approach
Mustapha JA et al

## Slide 8: C-TOP classification and recommended approaches – Antegrade or retrograde or both
Mustapha JA et al

## Slide 9: It is predicated on the fact that a concave fibro-calcific cap is difficult to penetrate and the wire or device is deflected away
Mustapha JA et al

## Slide 10: Wingman Device

## Slide 11: Hollow bore needle like tip that plunges forward and rotates

## Slide 12: Different sizes, 0.0014, 0.0018 and 0.0035

## Slide 13: Can go through various sheaths – Spex shapable tip sheath

## Slide 14: Synergistic Duo

## Slide 15: Case 1 – SFA CTO approached with 0.0035 wingman device
79 year old male with
HTN, DM and Hyperlipidemia
Rutherford III claudication
ABI 0.6

## Slide 16: Proximal SFA occlusion – what appeared to be a tapered cap…. tapered not into to lumen but into a collateral….

## Slide 17: Long CTO with calcified flat distal cap and diseased 2 vessel runoff – Retrograde pedal access feasible

## Slide 18: Unsupported 0.0035 Wingman device with angled stiff glidewire and successful crossing…
Needle needed to be plunged
and rotated at the proximal Cap,
mid CTO and distal Cap as
device met resistance

## Slide 19: PTA demonstrated a waist at the site of resistance mid CTO suggesting severe calcification at that location – Suboptimal results with PTA at the site of mid CTO and distal due to heavy calcification

## Slide 20: Successful stent – in this instance with 6.5 x 150 supera

## Slide 21: Case 2
80 year old male with
Diabetes, CAD, Chronic renal insufficiency, s/p TAVR
Evaluated for worsening ulceration right foot and rest pain
MRI osteomyelitis
ABI – 0.3
Functional at home after TAVR
CT angiogram – Right popliteal occlusion – no reconstitution of infra popliteal vessels. Vascular surgery no options.
Has had no response to hyberbaric O2 therapy

## Slide 22: TAVR done for functionality – do not want him non functional with Above Knee Amputation!!!!!!!!

## Slide 23: Patent Iliacs, CFA, SFA….

## Slide 24: Occluded distal Pop, TPT, AT, PT and peroneal….

## Slide 25: Super selective injection clearly demonstrated the anatomy

## Slide 26: Reconstituted peroneal only run off – foot vessels not visualized

## Slide 27: Proximal CAP is flat and calcified – Engaged with Astato 30 g tip wire and quick cross -Wire quickly sub intimal as it could not penetrate the proximal cap and was deflected to sub intimal space….

## Slide 28: Popliteal CTO engaged with 0.0014 wingman – device intraluminal to TPT -Once in TPT – exchanged for a 0.0014 quick cross and pilot wire to navigate the tortuous diseased proximal peroneal and successful crossing….

## Slide 29: Post PTA –brisk peroneal runoff to foot collateralizing DP and PT

## Slide 30: Wound clinic report – successful wound healing with just toe amputation

## Slide 31: Conclusions
Challenges to long CTO recanalization remains and ideal strategy still remains to be defined
Defining CAP morphology and using the shape of the cap to make clinical decisions on access and approach although useful is not always predictable
These strategies are predicated on the fact that concave fibro-calcific caps are difficult to penetrate
Wingman device with its unique capability to penetrate tough proximal and distal cap regardless of the morphology, has the potential to eliminate some of the limitations of existing technologies in terms of cap penetration
Sometimes a simple and elegant device without any bells and whistles, that does not whirr or light up can get the job done
Lets Keep it SIMPLE!!!!

## Slide 32: Case - 3
70 year old male with severe COPD
Known Severe PAD – s/p SFA stent 3 years ago
Admitted with rest pain, cellulits and ulceration right leg and foot
Venous Doppler Negative. H/o of right GSV ablation with no significant residual reflux
ABI 0.3
Foot red and weeping
Angiogram right SFA focal ISR 80% in 3 areas treated with laser Atherectomy and DCB in the first setting via contralateral access

## Slide 33: Patent SFA and Popliteal after laser Atherectomy and DCB of focal ISR

## Slide 34: Super selective injection – patent peroneal and limited distal AT reconstitution

## Slide 35: Antegrade CFA access and retrograde distal AT access

## Slide 36: Unable to cross CTO proximal CAP with both antegrade and retrograde wires – Astato, Pilot 200, Terumo gold - Wires subintimal

## Slide 37: Successful penetration of the proximal CAP with 0.0014 wingman and successful crossing… followed by PTA and 2 vessel runoff